| # MNPP “Electropribor” Ltd. ## TRADE CATALOGUE ## MNPP Electropribor Ltd. Page 1 of 4. |
| --- |
| No. | Device Type | ### Name, purpose, basic error |  | Price without VAT, USD |
| 1 Measuring transducers of electrical power values |  |  |  |  |
| 1.1 | ЭП8542 EP8542 | Alternating Current Measuring Transducer , basic error ±1.0 |  | 29 |
| 1.2 | ЭП8543 EP8543 | Alternating Current Voltage Measuring Transducer, basic error ±1.0 |  | 39 |
| 1.3 | ЭП8527 EP8527 | Alternating current and alternating current voltage Measuring Transducer for operating and overload modes obtains a uniform output signal of alternating current 0-5; 0-5-6,5; 0-5-100 mА Models: EP8527/1, 2, 4 – 12, single-channel, basic error: ±1% EP8527/3, 13–19*, four-channel, basic error: ±0.25 % |  | 46 119 |
| 1.4 | ЭП8528 EP8528 | Alternating Current Frequency Measuring Transducer, basic error 0.05 % (0.02% on order) Integrated interface RS485 on order for all models. |  | 89-109 |
|  | ЭП8530М/1-8 EP8530M/1-8 | Measuring Transducer of active power and reactive power of three-phase networks (two-element device). Basic error: 0.5% |  | 189 |
|  | ЭП8530М/9-16 EP8530M/9-16 | Measuring Transducer of active power of three-phase networks (two-element device). Basic error: 0.5%. |  | 179 |
| 1.5 | ЭП8530М/17-24 EP8530M/17-24 | Measuring Transducer of active power and reactive power of three-phase networks (two-element device). Basic error: 0.2% . |  | 199 |
|  | ЭП8530М/25-32 EP8530M/25-32 | Measuring Transducer of active power and reactive power of three-phase four-core alternating current networks (a three-element device). Basic error: 0.2%. |  | 229 |
|  |  | Integrated interface RS485 on order for all models. |  |  |
| 1.6 | ЭП8554 EP8554 | Single-channel / three-channel Alternating Current Measuring Transducer (a single-range device at each input and also single-channel multi-range at input), basic error ±0.5 Integrated interface RS485 on order for all models. | EP8554/1,2 one-channel | 79 |
|  |  |  | EP8554/3,4 three-channel | 189 |
|  |  |  | EP8554/5,6 multirange one-channel | 118 |
| 1.7 | ЭП8555 EP8555 | Single-channel / three-channel Alternating Voltage Measuring Transducer, basic error ±0.5 Integrated interface RS485 on order for all models. | EP8555/1,2,6,8,9 one-channel | 79 |
|  |  |  | EP8555/3,4,5,7 three-channel | 189 |
| 1.8 | ЭП8556 EP8556 | Direct Current Measuring Transducer, output signal transition time: 0.5 s/ 0.005 s (fast-acting), basic error ±0.5 Integrated interface RS485 on order for all models, except EP8556/13, 14 | EP8556/1-6 transition time=0.5s.1input, 1output | 99 |
|  |  |  | EP8556/7-12 transition time=0.5s.1input, 2outputs | 122 |
|  |  |  | EP8556/13,14 transition time=0.5s.2inputs, 2outputs | 179 |
|  |  |  | EP8556/15-20 transition time=0.005s.1input, 1output | 119 |
|  |  |  | EP8556/21-26 transition time=0.005s.1input, 2output | 142 |
| 1.9 | ЭП8557 EP8557 | Direct Voltage Measuring Transducer, output signal transition time: 0.5 s/ 0.005 s (fast-acting), basic error ±0.5 Integrated interface RS485 on order for all models | EP8557/1,2,5 transition time=0.5s.1input, 1output | 99 |
|  |  |  | EP8557/3,4,6 transition time=0.5s.1input, 2outputs | 122 |
|  |  |  | EP8557/7,8,11 transition time=0.005s.1input, 1output | 119 |
|  |  |  | EP8557/9,10,12 transition time=0.005s.1input, 2output | 142 |
| 1.10 | ЭП8565 EP8565 | Measuring Transducer of negative phase-sequence (two channels), basic error ±1.0 |  | 59 |
| For ЭП8530М, ЭП8554, ЭП8555, ЭП8556, ЭП8557 |  |  |  |  |
| Integrated interface RS485 on order for all models |  |  |  | +20 |
| the built-in general-purpose pulse power unit with input direct voltage from 105 to 300 V or alternating voltage from 80 to 260 V |  |  |  | +30 |
| Designing of non-standard models. Embodiment of the transducers allows them to be adjusted to switchboard or DIN-rail . Discounts are available with regard to the order amount |  |  |  |  |

Developer and manufacturer: MNPP Electropribor Ltd.

P.O. Box 23, 210015 Vitebsk, Republic of Belarus Reception: Tel./Fax: (+375) 212 372-816

Marketing Dept.: Tel./Fax: (+375) 212 374 - 624 Technical matters: Tel./Fax: (+375) 212 374-715

www.electropribor.com      e-mail: electropribor@mail.ru

| # MNPP “Electropribor” Ltd. | ## TRADE CATALOGUE ## MNPP Electropribor Ltd. Page 2 of 4 |
| --- | --- |

| No. |  | Device Type | ### Name, purpose, basic error | Price without VAT, USD |
| --- | --- | --- | --- | --- |
| 2 Panel-Mounted Digital Devices (Measuring Devices) |  |  |  |  |
| 2.1 | ЦП8507CP8507 |  | Multifunctional Digital Measuring Transducers for measuring parameters of three-wire and four-wire direct current three-phase networks of 50Hz frequency (effective values of phase currents and linear currents, voltages; active, reactive and total power; frequency, etc.. – up to 29 parameters). RS-485-1 – with galvanic isolation for transmission to the ACS supremal controller; RS-485-2 – for reflection on IC8511 indicators (see line.3.1). Basic error for frequency measuring ±0.05%, for other parameters ±0.5% (to simplify calibration). For models CP8507/1-4,7-10 the built-in general-purpose pulse power unit with input direct voltage from 105 to 300 V or alternating voltage from 80 to 260 V is available. CP8507/1,2 – panel-mounted for 4-wire networks, CP8507/7,8 for 3-wire networks, with 3 digital indicators on the board displaying 3 parameters from 29 and 3 output analog signals 0-5; ±5;4-12-20; 4-20mA with regards to the parameters being displayed. CP8507/3-6,9-12 – have no analog indicators and analog output signals, to be mounted on panels, boards, DIN-rails. CP8507/3-6 – for 4-wire three-phase networks. CP8507/9-12 – for 3-wire three-phase networks . CP8507/5,6,11,12 – 220V 50Hz mains supply. Medium low-temperature version 3.1 (-40-+50ºС) * on order can be produced without analog output signals | With indication 558 * CP8507/1, 2,7,8 |
|  |  |  |  | Without indication 418 CP8507/3, 4,9,10 388 CP8507/5, 6,11,12 |
| 2.2 | ЦП8501CP8501 |  | Panel-Mounted Direct Current Milliammeter (CP8501/1, CP8501/2 models with arbitrary scale) Panel-Mounted Alternating Current Ammeter (CP8501/7 – 14 models) Panel-Mounted Alternating Current Voltage Voltmeter (CP8501/15 – 26 models) For all models: basic error ±0.5%, power supply 100 V, 220 V, frequency 50 Hz. On board: direct current analog output (0-5) mA or (4-20) mA, built-in general-purpose pulse power unit with output direct voltage and input direct voltage from 105 to 300 V, and alternating voltage from 85 to 260 V, RS-485 interface. Medium low-temperature version 3.1(-40-+50ºС) | 158 178 (with RS485) 208 (with RS485, multi-purpose PU) |
| 2.3 | ЦП8512CP8512 |  | Panel-Mounted frequency and (or) temperature meter Basic error for frequency measurement ±0.05%, for temperature measurement ±1%; on order: direct current analog output (0-5) mA, (-5-0- +5) mA, (4-20) mA Depending on a model: 1-3 built-in relays (voltage commutation up to 250V and current commutation up to 4A) for heating and cooling control and possibility of entering from 2 to 6 temperature settings. It is also possible to enter into memory of the device up to 9 temperature control diagrams. On order: built-in general-purpose pulse power unit with input direct voltage from 105 to 300 V and alternating voltage from 85 to 260 V, RS-485 interface. 2 relays | 158 178 (with RS485) 208 (with RS485, multi-purpose PU) 228 (with RS485, multi-purpose PU, 2 relays) |
| 2.4 | ЦП8506CP8506 |  | Panel-Mounted Wattmeter for three-phase networks (models CP8506/1 - 8, CP8506/17 - 24) Panel-Mounted Wattmeter for three-phase networks (models CP8506/9 - 16, CP8506/25 – 32) For all models: basic error ±0.5%, analog output range (0-5) mA, (0±5) mA, (4-12-20) mA, (4-20) mA, 100V/220V 50Hz mains supply or supply by measured network. On order: built-in general-purpose pulse power unit with input direct voltage from 105 to 300 V and alternating voltage from 80 to 260 V, RS-485 interface. Medium low-temperature version 3.1 (-40-+50ºС) | 198 218 (with RS485) 248 (with RS485, multi-purpose PU) |
|  |  |  | Combined Panel-Mounted Wattmeter and Varmeter for three-phase networks (models CP8506/33 - 40) For all models: basic error ±0.5%, 2 digital indicators, 2 analog outputs (0-5) mA, (0±5) mA, (4-12-20) mA, (4-20) mA, built-in general-purpose pulse power unit with input alternating voltage from 80 to 260 V and direct voltage from 105 to 300 V. On order: integrated RS-485 interface. Medium low-temperature version 3.1(-40-+50ºС) | 368 388 (with RS485) |
| For all CP8501, CP8506, CP8512 models the following colours of LED indicator are available on order: red, green, yellow; characters height – 20 mm. Replace appropriate measuring transducers and pointer indicators with rise in measurement accuracy. Mounting dimensions: 110*110mm or 91*91mm. For all CP8507/1,2,7,8 models the following colours of the LED panel lines are available: red, green, yellow. Mounting dimensions: 110*110mm. Discounts are available with regard to the order amount |  |  |  |  |

Developer and manufacturer: MNPP Electropribor Ltd.

P.O. Box 23, 210015 Vitebsk, Republic of Belarus Reception: Tel./Fax: (+375) 212 372-816

Marketing Dept.: Tel./Fax: (+375) 212 374 - 624 Technical matters: Tel./Fax: (+375) 212 374-715

www.electropribor.com      e-mail: electropribor@mail.ru

| # MNPP “Electropribor” Ltd. ## TRADE CATALOGUE ## MNPP Electropribor Ltd. Page 3 of 4. |
| --- |
| No. | Device Type | ### Name, purpose, basic error | Price without VAT, USD |
| 3 Digital Panel-Mounted Detectors and Indicators |  |  |  |
| 3.1 | ИЦ8511/1 IC8511 | ### Digital Panel-Mounted Indicator Intended for operation integrated with Digital Measuring Transducer CP8507 or other device with consistent data communications protocol under RS-485 interface; 3-lines indicators panel (each line contains 4 LED 7-segment indicators and “-” character, characters height 20 mm, colour of each line can be red, green or yellow); built-in general-purpose pulse power unit with input direct voltage from 105 to 300 V and alternating voltage from 80 to 260 V. | 158 |
| 3.2 | УП8514 UP8514 | Panel-Mounted Position/Stage Detector (from 1 to 99) UP8514 can be used instead of a ratiometer of LKM type, error is not normalized. On order: built-in general-purpose pulse power unit with output direct voltage from 105 to 300 V and alternating voltage from 80 to 260 V, RS-485 interface, LED indicator colour – red, green, yellow (characters height -20 mm) | 208 _______ 228 (with RS485) ______ 258 (with RS485, PU) |
| 3.3 | УП8515 UP8515 | Panel-Mounted Position/Stage Detector (from 1 to 99) UP8515 operates with a synchro sensor, and replaces synchro receiver and indicating instrument, error is not normalized, power supply transformer 220V/110V included On order: integrated RS-485 interface, LED indicator colour – red, green, yellow (characters height - 20 mm) | 378 _______ 398 (with RS485) |
| 3.4 | ИТР8502 ITR8502 | ### Panel-Mounted Indicator of Rotor Temperature Intended for transforming two uniform direct current signals of measuring transducers into a digital code; also intended for calculating temperature of generator rotor, indicating it on the digital display and transmitting it via the integrated RS-485 interface. Error is not normalized | 398 |
| 3.5 | ИПС8503, ИПР8504 IPS8503, IPR8504 | ### Indicators of stator current overload IPS8503 and rotor current overload IPR8504 Intended for displaying stator current or generator rotor current respectively, as well as allowed time span from the overload startpoint to the moment of overload termination and for information transmitting via the integrated RS-485 interface. Error is not normalized. | 398 |
| Discounts are available with regard to the order amount |  |  |  |

Developer and manufacturer: MNPP Electropribor Ltd.

P.O. Box 23, 210015 Vitebsk, Republic of Belarus Reception: Tel./Fax: (+375) 212 372-816

Marketing Dept.: Tel./Fax: (+375) 212 374 - 624 Technical matters: Tel./Fax: (+375) 212 374-715

www.electropribor.com      e-mail: electropribor@mail.ru

| # MNPP “Electropribor” Ltd. ## TRADE CATALOGUE ## MNPP Electropribor Ltd. Page 4 of 4. |  |
| --- | --- |
| No. | Device Type |  | ### Name, purpose, basic error | Price without VAT, USD |  |
| 4 Standard Measuring Devices |  |  |  |  |  |
|  |  | Portable Calibration Units: |  |  |  |
| 4.1 |  | УПП8531М/1UPP8531M/1 | - for calibration of pointer-type and digital ammeters, voltmeters, single-phase wattmeters, three-phase wattmeters and varmeters, alternating current measuring transducers, alternating voltage measuring transducers, two-element and three-element measuring transducers of active power and reactive power; -basic error: ±0.15%; - telemechanic channel calibration with regard to direct current; basic error: ±0.05%. | 5280 |  |
|  |  | УПП8531М/2UPP8531M/2 | - for calibration of pointer-type and digital three-phase wattmeters and varmeters, two-element and three-element measuring transducers of active power and reactive power; - basic error: ±0.15%; - telemechanic channel calibration with regard to direct current; basic error: ±0.05%. | 4630 |  |
|  |  | УПП8531М/3UPP8531M/3 | - for calibration of pointer-type and digital ammeters, voltmeters, single-phase wattmeters, alternating current measuring transducers, alternating voltage measuring transducers; - basic error: ±0.15%; - telemechanic channel calibration with regard to direct current; basic error: ±0.05%. | 3980 |  |
|  |  | УПП8531М/4UPP8531M/4 | - for calibration of pointer-type and digital voltmeters, alternating voltage measuring transducers; - basic error: ±0.15%. | negotiable |  |
|  |  | УПП8531М/5UPP8531M/5 | - for calibration of pointer-type and digital ammeters, alternating current measuring transducers; - basic error: ±0.15%. | negotiable |  |
| 4.2 |  | ЦВ8500 CV8500 | Multirange Alternating Current Ammeter, basic error ±0.1% | 790 |  |
| 4.3 |  | ЦА8500 CA8500 | Multirange Alternating Current Ammeter, basic error ±0.1% | 790 |  |
| 4.4 |  | ЦЛ8516 CL8516 | Multirange and Multifunctional Alternating Current Wattmeter, Basic error for power measurement: ±0.15% (voltage 0-600V, current 0-10 А), obtains functions of voltmeters D5102, D5103 and ammeters D5099, D5100, D5101. Basic error for voltage and current measurement: ±0.1%. | 1360 |  |
| 4.5 |  | ЦВ8535 CV8535 | Measuring System intended for measurement of voltage drop along wires starting from voltage transformer up to electricity meter for three-phase networks, current transformers and voltage transformers loads, network voltage deviation. Basic error: ±0.1%, ±0.25% | 4680 |  |
| 4.6 |  | МК8518 MK8518 | Source of Mains Frequency Signals intended for application in calibration and control automated systems for alternating current frequency measuring transducers, frequency relays, pointer-type and digital frequency-meters within the range from 45 to 65 Hz with discreteness of 0.01 Hz (output sine signal frequency value of the Source differs from the set value on the display no more than +0.0005 Hz), output voltage 100+15 V, 230+35 V, 400+60 V and output signal power up to 20 V*А. Integrated RS-232 interface is provided; it enables source control, data communication and transmission as digital code to PC display. | 1390 |  |
| * The production and development of non-standard items is possible on order. |  |  |  |  |  |
| Discounts are available with regard to the order amount |  |  |  |  |  |
| Developer and manufacturer: MNPP Electropribor Ltd. |  |  |  |  |  |
| P.O. Box 23, 210015 Vitebsk, Republic of Belarus Reception: Tel./Fax: (+375) 212 372-816 |  |  |  |  |  |
| Marketing Dept.: Tel./Fax: (+375) 212 374 - 624 Technical matters: Tel./Fax: (+375) 212 374-715 |  |  |  |  |  |

www.electropribor.com      e-mail: electropribor@mail.ru

2014